Student Print Packet - REVISED

PV101 Day 5 - Monday, July 13, 2026

Name: ____________________________    Date: ____________

# Morning Quiz

1. In a solar/battery circuit, what does voltage describe?

Answer: ________________________________________________________________________

2. What does current describe?

Answer: ________________________________________________________________________

3. What is the formula for power in watts?

Answer: ________________________________________________________________________

4. A 12.8 V battery is supplying 5 A. About how many watts is that?

Answer: ________________________________________________________________________

5. A 600 W inverter load on a 12 V battery can require roughly how much current before losses?

Answer: ________________________________________________________________________

6. In series, what usually adds: voltage or current capacity?

Answer: ________________________________________________________________________

7. In parallel, what usually stays the same and what can increase?

Answer: ________________________________________________________________________

8. What is a fuse actually protecting?

Answer: ________________________________________________________________________

9. Where should the main load/inverter fuse be placed?

Answer: ________________________________________________________________________

10. Why measure battery voltage before connecting equipment?

Answer: ________________________________________________________________________

11. What is voltage drop?

Answer: ________________________________________________________________________

12. Name one sign that a connection should be treated as unsafe.

Answer: ________________________________________________________________________

# Afternoon Lab - Commissioning & Fault Finding

Team/Kit: ____________________  Students: ______________________________

## Commissioning record

Battery open-circuit voltage: ______ V

Controller battery voltage: ______ V

PV/input voltage: ______ V

Load voltage at source end: ______ V

Load voltage at load end: ______ V

Voltage drop: ______ V

Instructor initials: ______

## Fault record

Observed symptom: __________________________________________________________

Prediction: __________________________________________________________

Measurement evidence: __________________________________________________________

Fault identified: __________________________________________________________

Corrective action: __________________________________________________________

Proof of restoration: __________________________________________________________

## Wire / fuse reasoning

Load power: ______ W

System voltage: ______ V

Estimated current: ______ A

Proposed conductor: __________

Proposed fuse: __________

Why this protects the wire: _____________________________________________

## Serviceability handoff

Label added or corrected: __________________________

Useful future test point: __________________________

Note for next technician: __________________________

## Exit ticket

One reading that proved something: __________________________

One fault I can diagnose systematically: ______________________

One reason we did not rebuild the system: _____________________