## Slide 1
PV102 Day 01 | Monday, August 3, 2026 | Slide 1
PV102 Day 1
Applications and Design Decisions
Professionals match systems to real needs.
Notes: Open by connecting the RCS handoff habit to a PV client brief.
Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.
[Sources]
- Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.

## Slide 2
PV102 Day 01 | Monday, August 3, 2026 | Slide 2
PV102 begins where PV101 ended
PV101 built the system. PV102 decides which system belongs in the job.
Professionals match systems to real needs.
Notes: Frame PV102 as an advance in judgment, not a reset.
Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.
[Sources]
- Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.

## Slide 3
PV102 Day 01 | Monday, August 3, 2026 | Slide 3
Today's rule
Start with the load, the site, and the operating need.
Professionals match systems to real needs.
Notes: Have students say the rule aloud before scenarios begin.
Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.
[Sources]
- Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.

## Slide 4
PV102 Day 01 | Monday, August 3, 2026 | Slide 4
A correct part can still make the wrong system
Architecture must fit the job, not just the available equipment.
Professionals match systems to real needs.
Notes: Use one familiar kit component as an example.
https://www.energy.gov/topics/solar-energy
https://www.eia.gov/energyexplained/solar/
[Sources]
- https://www.energy.gov/topics/solar-energy
- https://www.eia.gov/energyexplained/solar/

## Slide 5
PV102 Day 01 | Monday, August 3, 2026 | Slide 5
Four common PV architectures
Grid-tied. Hybrid. Off-grid. PV-direct.
Professionals match systems to real needs.
Notes: Ask students for one real application of each architecture.
https://www.energy.gov/topics/solar-energy
https://www.eia.gov/energyexplained/solar/
[Sources]
- https://www.energy.gov/topics/solar-energy
- https://www.eia.gov/energyexplained/solar/

## Slide 6
PV102 Day 01 | Monday, August 3, 2026 | Slide 6
Grid-tied
PV serves loads through an interconnected utility system.
Professionals match systems to real needs.
Notes: Clarify that outage behavior depends on the listed equipment and approved design.
https://www.energy.gov/topics/solar-energy
https://www.eia.gov/energyexplained/solar/
[Sources]
- https://www.energy.gov/topics/solar-energy
- https://www.eia.gov/energyexplained/solar/

## Slide 7
PV102 Day 01 | Monday, August 3, 2026 | Slide 7
Hybrid
PV, storage, and the grid work together for selected goals.
Professionals match systems to real needs.
Notes: Ask what the battery is being hired to do.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 8
PV102 Day 01 | Monday, August 3, 2026 | Slide 8
Off-grid
The system must carry its loads without utility support.
Professionals match systems to real needs.
Notes: Emphasize autonomy, weather, maintenance, and load discipline.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 9
PV102 Day 01 | Monday, August 3, 2026 | Slide 9
PV-direct
The load runs when solar power is available; storage may be unnecessary.
Professionals match systems to real needs.
Notes: Use a daytime pumping example.
https://www.eia.gov/energyexplained/solar/
[Sources]
- https://www.eia.gov/energyexplained/solar/

## Slide 10
PV102 Day 01 | Monday, August 3, 2026 | Slide 10
Residential and commercial applications
Bill reduction, resilience, available space, rules, and maintenance shape the design.
Professionals match systems to real needs.
Notes: Do not promise savings; keep the focus on design inputs.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 11
PV102 Day 01 | Monday, August 3, 2026 | Slide 11
Remote and critical loads
Reliability, access, weather, storage, and serviceability become dominant constraints.
Professionals match systems to real needs.
Notes: Contrast a trail counter with a critical communications load.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 12
PV102 Day 01 | Monday, August 3, 2026 | Slide 12
Constraints are design inputs
Load. Solar resource. Shade. Space. Budget. Access. Maintenance. Rules.
Professionals match systems to real needs.
Notes: Students should circle the constraint that could stop each scenario.
https://www.energy.gov/topics/solar-energy
https://www.eia.gov/energyexplained/solar/
[Sources]
- https://www.energy.gov/topics/solar-energy
- https://www.eia.gov/energyexplained/solar/

## Slide 13
PV102 Day 01 | Monday, August 3, 2026 | Slide 13
Start with the load
What must run? How many watts? For how long? What starts hard?
Professionals match systems to real needs.
Notes: Preview Day 6 load analysis without doing the full calculation.
Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.
[Sources]
- Sean White, Solar Photovoltaic Basics, 2nd ed., Routledge, 2018, ISBN 9781138102866.

## Slide 14
PV102 Day 01 | Monday, August 3, 2026 | Slide 14
The site changes the answer
Sun, shade, orientation, weather, space, and access change system performance.
Professionals match systems to real needs.
Notes: Preview the Day 2 site-assessment lesson.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 15
PV102 Day 01 | Monday, August 3, 2026 | Slide 15
Storage solves a job and creates new jobs
Batteries add capability, cost, weight, controls, losses, and maintenance.
Professionals match systems to real needs.
Notes: Ask: what specific problem would justify storage here?
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy

## Slide 16
PV102 Day 01 | Monday, August 3, 2026 | Slide 16
Protection belongs in the design
Isolation, overcurrent protection, labeling, and verified boundaries are not extras.
Professionals match systems to real needs.
Notes: No energized field work is authorized by this classroom exercise.
https://www.osha.gov/green-jobs/solar/electrical
https://www.osha.gov/green-jobs/solar/lockout-tagout
[Sources]
- https://www.osha.gov/green-jobs/solar/electrical
- https://www.osha.gov/green-jobs/solar/lockout-tagout

## Slide 17
PV102 Day 01 | Monday, August 3, 2026 | Slide 17
Today's challenge
Choose the architecture, map the energy path, and defend the decision.
Professionals match systems to real needs.
Notes: Release three teams of two only after the acceptance criteria are clear.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 18
PV102 Day 01 | Monday, August 3, 2026 | Slide 18
Team roles
Designer. Verifier. Recorder and handoff lead. Rotate after each scenario.
Professionals match systems to real needs.
Notes: With teams of two, one student may hold two roles, then swap.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 19
PV102 Day 01 | Monday, August 3, 2026 | Slide 19
Acceptance criteria
Match the need. Show the path. Name the constraint. State the safety boundary.
Professionals match systems to real needs.
Notes: Reject unexplained component lists. Require cause-and-effect reasoning.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 20
PV102 Day 01 | Monday, August 3, 2026 | Slide 20
Scenario 1
A remote trail counter needs year-round power where no utility exists.
Professionals match systems to real needs.
Notes: Likely direction: off-grid. Students must still identify unknowns.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 21
PV102 Day 01 | Monday, August 3, 2026 | Slide 21
Scenario 2
A shop wants bill reduction and limited backup for essential loads.
Professionals match systems to real needs.
Notes: Likely direction: hybrid. Require students to define essential loads.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 22
PV102 Day 01 | Monday, August 3, 2026 | Slide 22
Scenario 3
A water pump only needs to run when strong sunlight is available.
Professionals match systems to real needs.
Notes: Likely direction: PV-direct, subject to motor and controller requirements.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 23
PV102 Day 01 | Monday, August 3, 2026 | Slide 23
Debrief question 1
Which operating need changed your architecture choice?
Professionals match systems to real needs.
Notes: Ask for one answer from each team.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 24
PV102 Day 01 | Monday, August 3, 2026 | Slide 24
Debrief question 2
Which constraint mattered most, and what evidence supports that claim?
Professionals match systems to real needs.
Notes: Require an evidence statement, not a preference.
[Sources]
- Internal CTS Cohort 6 instructional content; no external claim.

## Slide 25
PV102 Day 01 | Monday, August 3, 2026 | Slide 25
Close
The best PV system is the one matched to its real job.
Professionals match systems to real needs.
Notes: Preview Day 2: site conditions and measured solar behavior.
https://www.energy.gov/topics/solar-energy
[Sources]
- https://www.energy.gov/topics/solar-energy