# PV101 Day 3 Morning Quiz - Answer Key

Teacher use | Chapters 3 and 4 reading check

| # | Expected answer |
| --- | --- |
| 1 | Photovoltaic. |
| 2 | DC electricity. |
| 3 | True. Cells are combined into modules/panels. |
| 4 | A group of solar modules/panels connected together. |
| 5 | Sunlight power hitting an area at a moment, often W/m2. |
| 6 | Solar energy received over time, often kWh/m2/day. |
| 7 | It can reduce output because cells/modules are electrically connected. |
| 8 | P = V x I, or Watts = Volts x Amps. |
| 9 | 25.6 W. |
| 10 | Regulates power from PV to the battery and helps prevent improper charging. |
| 11 | Converts DC electricity into AC electricity. |
| 12 | Examples: light, fan, water pump, USB outlet, fridge control board. |
| 13 | Voltage is electrical pressure; current is electrical flow. |
| 14 | Labels can be missing, wrong, old, or disconnected from reality. |
| 15 | Stop and ask/check with instructor; do not assume it is safe. |

# Grading Suggestion

15 points total, 1 point per question.

Give partial credit for plain-language understanding.

Use missed questions to guide review before the lab.