RCS04 | Morning Quiz - Answer Key

CTS Cohort 6 | CTS Day 12 | 2026-07-23 | 10:00 AM-3:00 PM | 6 students

Plumbing Basics: Supply, Drainage, and Dry Verification

1. What system delivers water to a fixture?

The supply system.

2. What does DWV stand for?

Drain, waste, and vent.

3. What is the P-trap's basic purpose?

To hold a water seal that helps block sewer gases.

4. What should happen before tightening slip joints?

Parts and washers should be aligned and correctly oriented.

5. Why troubleshoot one change at a time?

So the crew can identify which correction changed the result.

6. What does a shutoff valve allow?

Isolation of the fixture supply.

7. May students drill framing for plumbing without approval?

No.

8. What type of verification is planned for today's lab?

Dry visual and mechanical verification.

9. Why keep plumbing and electrical stations separated?

To prevent moisture from creating electrical hazards.

10. What does a professional do when a part is cracked or cross-threaded?

Stop, identify it, and replace or correct it rather than force it.

# Scoring guidance

One point per item. Accept technically equivalent wording. Use errors to reteach before lab release. Safety-boundary errors must be corrected explicitly before the student begins the related task.