# PV102 Day 5 Morning Quiz

10 questions | 15 minutes | Independent work

PV102 | CTS Day 21 | Morning Quiz - Student
Storage has a defined job: carry named loads through named time. | Monday, August 10, 2026

Directions: Answer from your current knowledge. For written responses, use complete technical statements. If unsure, state the safe next action rather than guessing.

1. Battery capacity is commonly expressed as:

A. Ah or Wh

B. Degrees azimuth only

C. Wire color

D. Roof pitch only

2. A battery bank should be sized from:

A. Defined loads and runtime

B. The prettiest battery case

C. Random parts available

D. Module color

3. Usable capacity is often less than nameplate capacity because:

A. Depth-of-discharge and protection limits matter

B. Labels are decoration

C. All loads are AC

D. Sunlight is heavy

4. Autonomy means:

A. Time the system must carry loads without enough solar input

B. A compass direction

C. A breaker type

D. A module frame dimension

5. Load shedding means:

A. Reducing or turning off lower-priority loads

B. Cutting random wires

C. Ignoring the client

D. Making voltage disappear

6. Estimate: 1,000 Wh/day for 2 days = ___ Wh before losses and usable-capacity adjustment.

________________________________________________________________________________________________

________________________________________________________________________________________________

7. Why does battery voltage matter in system design?

________________________________________________________________________________________________

________________________________________________________________________________________________

8. Name one battery safety boundary.

________________________________________________________________________________________________

________________________________________________________________________________________________

9. Why is “more battery” not always the best answer?

________________________________________________________________________________________________

________________________________________________________________________________________________

10. Write the Day 5 rule in your own words.

________________________________________________________________________________________________

________________________________________________________________________________________________