# PV102 Day 3 Afternoon Lab

Client Load Interview and Energy Budget

PV102 | CTS Day 19 | Afternoon Lab
Watts are moments. Watt-hours are work over time. | Wednesday, August 5, 2026

# Mission

Teams interview a mock client, build a daily load table, and recommend one load reduction.

# Safety boundary

This lab is training work. Do not energize or connect equipment outside the instructor-approved procedure. When in doubt, stop, isolate, verify, and ask.

# Scenario options

Tiny shop: lights, laptop, phone charging, modem/router, small fridge, occasional circular saw.

Remote trail counter: sensor, camera, cellular modem, winter operation, limited service visits.

Bus conversion: lighting, fridge, fan, water pump, laptop, phone charging, occasional induction cooktop.

# Procedure

Choose one scenario and list all loads.

For each load, record watts, hours per day, daily Wh, priority, and unknowns.

Mark surge or motor loads.

Calculate total daily Wh and essential daily Wh.

Recommend one load change that improves system practicality without weakening the client need.

Prepare a handoff showing the load table and top three unknowns.

# Acceptance criteria

Match the real job.

Show the energy or work path.

Name the dominant constraint.

State the safety boundary.

Record unknowns instead of guessing.

Give a handoff another crew can use.

# Team handoff form

| Item | Response |
| --- | --- |
| Team members |  |
| Scenario |  |
| Primary decision |  |
| Evidence |  |
| Safety boundary |  |
| Unknowns |  |
| Next safest action |  |