# PV101 Final Assessment Answer Key

Instructor copy | 25 questions | 25 points

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

| Q | Chapter | Type | Answer / acceptable evidence |
| --- | --- | --- | --- |
| 1 | 1 | MC | B. Light |
| 2 | 1 | MC | C. An off-grid cabin used at night |
| 3 | 2 | MC | B. Isolate energy sources and verify the state |
| 4 | 2 | MC | C. Stop and verify with the correct meter setup |
| 5 | 3 | MC | A. Voltage is electrical pressure and current is flow |
| 6 | 3 | CALC | 36 W; W = V x A = 12 x 3. |
| 7 | 4 | MC | A. Daily equivalent full-sun energy |
| 8 | 4 | MC | B. Output is reduced |
| 9 | 5 | MC | B. A possible DC voltage source |
| 10 | 5 | DIAGRAM | Voltage adds; current remains limited by the matched module/string current. |
| 11 | 6 | MC | B. Regulate charging to protect the battery |
| 12 | 6 | MC | A. Convert DC to AC |
| 13 | 7 | CALC | 120 Wh/day; 3 x 10 W x 4 h. |
| 14 | 7 | MC | A. A load assessment |
| 15 | 8 | MC | B. To protect as much conductor as practical |
| 16 | 8 | MC | B. Voltage drop and heating |
| 17 | 9 | MC | B. It can be easier to access and orient |
| 18 | 9 | DIAGRAM | Ground area; it has better documented solar access. Accept reason tied to shading/access, with acknowledgment that full site review is still required. |
| 19 | 10 | MC | B. Choose one test that can separate likely causes |
| 20 | 10 | SHORT | The cause and conductor/system condition must be checked, then the known-good state must be verified with repeat measurements or functional testing. |
| 21 | 11 | MC | C. Enforces the applicable local requirements and approvals |
| 22 | 11 | CALC | $2,000; $2,500 - $500 = $2,000. |
| 23 | 12 | SHORT | Reviewing misses identifies the specific concept, calculation, unit, or safety reasoning that needs correction and turns the practice set into a learning tool. |
| 24 | 12 | CALC | 750 W; 0.75 kW x 1,000 W/kW. |
| 25 | Cumulative | SCENARIO | Accept: stop and isolate energy; inspect/trace the actual path and protection; verify meter setup; with the circuit de-energized test fuse continuity or measure voltage at logical points after safe re-energization; record expected vs actual readings, conclusion, repair, and restoration check. Must not bypass protection or trust the label alone. |

# Scoring

Award one point per question. For calculations, require the correct result with an appropriate unit; accept equivalent work. For written items, accept equivalent safe reasoning that includes the listed evidence. Record the raw score out of 25.