# PV102 Day 1 Morning Quiz: Answer Key

Scoring notes and instructional rationales

| 10 points | Suggested: 8 ready | Use for review |
| --- | --- | --- |

Morning Quiz - Answer Key | Audience: Instructor | Monday, August 3, 2026

| Item | Answer | Rationale / look-for |
| --- | --- | --- |
| 1 | B. DC | PV modules produce direct-current electrical output. |
| 2 | A. Voltage | In a series connection, matching module voltages add while current is limited by the string. |
| 3 | B. Current | In a parallel connection, matching string currents add while voltage remains at the branch voltage. |
| 4 | C. Battery to controller | For the training hardware used in PV101, students followed the controller manufacturer's battery-first startup sequence. Always use the actual manufacturer's procedure. |
| 5 | B. Limit damaging current | A fuse or breaker opens the circuit when current exceeds its intended limit; it does not create or store energy. |
| 6 | B. De-energized and verified | Continuity and resistance checks require an electrically safe, de-energized circuit. |
| 7 | 24 W | P = V x I = 12 V x 2 A = 24 W. |
| 8 | Any two: scope/work completed; verified measurements or results; condition/status; unresolved items; safety boundaries; next action. | A professional handoff separates what is complete and verified from what remains open. |
| 9 | Stop work, protect the area, verify the condition with the correct procedure/tool, and ask the instructor or qualified person. | Uncertainty is a stop condition, not permission to guess. |
| 10 | Accept any accurate statement: component ratings, functions, environment, compatibility, or client goals may not match the specific system. | PV102 shifts from identifying parts to matching a whole architecture to a real job. |

# Use the review diagnostically

If items 2-3 are weak, review series and parallel behavior before Day 3 module analysis.

If items 4-6 or 9 are weak, reinforce de-energization, manufacturer sequence, protection, and stop-work expectations before any later hands-on activity.

If item 8 is weak, use the RCS handoff pattern: scope, verified evidence, unresolved items, next action.

Do not treat this quiz as evidence that a student is qualified for live electrical work.