# PV102 Day 1 Whiteboard Outline

Use when presenting without the slide deck or to anchor discussion

| Board 1: job | Board 2: path | Board 3: proof |
| --- | --- | --- |

Whiteboard Outline | Audience: Instructor | Monday, August 3, 2026

# Board 1 - Start with the job

LOAD: what must run?

TIME: when and for how long?

SITE: what helps or blocks the system?

NEED: bill reduction, resilience, remote service, or process operation?

# Board 2 - Four architectures

Grid-tied: PV + utility

Hybrid: PV + storage + utility

Off-grid: PV + storage + load

PV-direct: PV + compatible daytime load

# Board 3 - Design acceptance

Match the need.

Show the energy path.

Name the dominant constraint.

State the safety boundary.

Record unknowns; do not guess.

# Scenario reveals

| Scenario | First-pass architecture | Decision signal |
| --- | --- | --- |
| Remote trail counter | Off-grid | No utility; must run day and night |
| Small shop | Hybrid | Bill reduction plus defined backup loads |
| Daytime pump | PV-direct | Load can wait for sun; water tank stores the service |

Final board sentence The best PV system is the one matched to its real job.