PV101 CTS Cohort 6 Day 2 Quiz

Electricity Basics, Multimeter Practice, Series and Parallel

| Program | Cohort | Day | Date |
| --- | --- | --- | --- |
| PV101 | CTS Cohort 6 | Day 2 | 2026-07-07 |

# PV101 Day 2 Quiz

Name: ________________________________    Date: 7/7/2026

1. What does PV stand for?

A. Power Voltage

B. Photovoltaic

C. Panel Verification

D. Positive Value

Answer: ______________________________________________

2. Solar panels produce what kind of electricity?

A. AC

B. DC

C. Static only

D. None unless plugged into a wall

Answer: ______________________________________________

3. Match: Voltage, Current, Resistance, Power.

Voltage = electrical pressure

Current = electrical flow

Resistance = opposition to flow

Power = work being done

Answer: ______________________________________________

4. What formula gives watts?

A. Watts = Volts x Amps

B. Watts = Ohms / Volts

C. Watts = Amps + Volts

D. Watts = Resistance x Time

Answer: ______________________________________________

5. A 12V fan draws 3A. How many watts is it using?

Work: ________________________________________________

Answer: ______________________________________________

6. A 60W light is running on a 12V system. How many amps does it draw?

Work: ________________________________________________

Answer: ______________________________________________

7. In series wiring, what usually increases?

A. Voltage

B. Resistance only

C. Wire color

D. Nothing

Answer: ______________________________________________

8. In parallel wiring, what usually increases?

A. Voltage

B. Current

C. Sunlight

D. Panel size

Answer: ______________________________________________

9. True or false: A solar panel can produce voltage whenever light is hitting it.

Answer: ______________________________________________

10. Why should you inspect meter leads before using a multimeter?

Answer: ______________________________________________