# PV101 Day 3 - Whiteboard Plan

Rich solo teaching board material

# Board 1: Today

PV101 Day 3 - Reading Review + Wire Lab

Morning: Chapters 3-4 quiz + review

Midday: solar system behavior

Afternoon: wire stripping + crimping lab

Goal: clean, inspectable work

# Board 2: Solar Path

Sun -> PV Module -> Charge Controller -> Battery -> DC Loads

Battery -> Inverter -> AC Loads

# Board 3: Words That Matter

| Word | Meaning |
| --- | --- |
| Voltage | Electrical pressure |
| Current | Electrical flow |
| Power | Work being done |
| Energy | Power over time |
| PV | Sunlight to electricity |
| DC | One direction |
| AC | Changing direction |

# Board 4: Wire Lab Quality Standard

Right strip length

No missing strands

Connector seated

Crimp on metal barrel

Passes tug test

Easy to inspect later

# Board 5: Exit Ticket

One thing I can do now

One thing I need to practice

Why clean wiring matters in RV solar