# PV101 Day 7 Morning Quiz Answer Key

Instructor copy

Day_07_PV101_Load_Assessment_and_System_Sizing_2026-07-15

1. What does AHJ stand for in a permitting context?
Authority Having Jurisdiction.

2. Why should the AHJ and utility requirements be checked before an installation begins?
They define the current local approval, documentation, inspection, and interconnection requirements that apply to the work.

3. Why must an incentive be verified with a current authoritative source?
Programs, eligibility rules, amounts, and deadlines can change.

4. Name two useful authoritative resources for planning permitted PV work.
Accept two: the local AHJ/building department, the serving utility, current government program material, adopted code or local amendments, or manufacturer instructions.

5. What is the purpose of a permit and inspection process?
To document that the proposed and completed work meets the applicable local safety and approval requirements.

6. What should you do first when a practice question includes units?
Identify and keep track of the units before calculating or selecting an answer.

7. When two answers seem possible, what type of answer takes priority in PV work?
The answer that preserves safety, verification, and documented procedure.

8. Why should a calculated answer be checked for reasonableness?
A correct-looking calculation can still contain a wrong unit, decimal, or assumption.

9. Why is reviewing a missed practice question useful?
It identifies the concept, unit, calculation, or safety reasoning that needs correction.

10. State the course rule that replaces guessing.
Measure, verify, document, then proceed; equivalent wording accepted.