# PV101 Day 8 Morning Quiz

Student copy | 10-15 minutes

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________

Answer briefly. Show work and units where needed.

1. A 24 V training load draws 2 A. What power does it use?
__________________________________________________________________________________
__________________________________________________________________________________

2. A 40 W device operates for 2 hours. What daily energy does it use?
__________________________________________________________________________________
__________________________________________________________________________________

3. Before testing continuity across a fuse, name the required energy state and meter function.
__________________________________________________________________________________
__________________________________________________________________________________

4. A wire label says polarity is correct. What evidence should verify the label?
__________________________________________________________________________________
__________________________________________________________________________________

5. Why write the expected value and unit before taking a measurement?
__________________________________________________________________________________
__________________________________________________________________________________