# PV102 Day 2 Morning Quiz: Answer Key

10 questions | 15 minutes | Independent work

PV102 | CTS Day 18 | Morning Quiz - Answer Key
Measure the site before you size the system. | Tuesday, August 4, 2026

Directions: Answer from your current knowledge. For written responses, use complete technical statements. If unsure, state the safe next action rather than guessing.

1. Which site condition most directly reduces solar access?

A. Good labeling

B. Shade on the array area

C. A clean classroom

D. A larger clipboard

Answer: B

Rationale/look-for: Shade reduces irradiance reaching the module surface and can also create mismatch effects.

2. Azimuth describes:

A. Direction/orientation

B. Battery chemistry

C. Wire color

D. Breaker rating

Answer: A

Rationale/look-for: Azimuth is the compass direction a surface or array faces.

3. Tilt describes:

A. Array angle relative to horizontal

B. Fuse speed only

C. Type of current

D. Wire insulation color

Answer: A

Rationale/look-for: Tilt is the mounting angle of the module surface.

4. A site note should separate observations from:

A. Measurements

B. Evidence

C. Assumptions

D. Safety boundaries

Answer: C

Rationale/look-for: Assumptions must be labeled so later design decisions do not pretend guesses are facts.

5. The safest first action before a roof assessment is to:

A. Climb quickly

B. Discuss access, fall hazards, and boundaries

C. Carry modules first

D. Energize the inverter

Answer: B

Rationale/look-for: Access and fall hazards must be controlled before roof work.

6. Name one factor besides shade that affects PV placement.

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Instructor judgment

Rationale/look-for: Accept orientation, tilt, available area, structure, roof condition, wiring route, access, weather exposure, or maintenance space.

7. A team records “probably enough sun.” What should they do next?

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Convert to evidence

Rationale/look-for: They should make a specific observation or record it as an unknown to verify.

8. Why can a sunny site still be a poor installation site?

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Constraints

Rationale/look-for: Space, access, structure, wiring route, safety, maintenance, or client need may still make it unsuitable.

9. What is one unknown that should be carried into Day 3?

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Any relevant unknown

Rationale/look-for: Examples: actual load size, duty cycle, roof structure, utility status, shading hours, or available mounting area.

10. Write the Day 2 rule in your own words.

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Measure before sizing

Rationale/look-for: Look for the idea that site evidence comes before design confidence.