PV101 Day 06 Morning Quiz Answer Key

Instructor copy

| Course | PV101 |
| --- | --- |
| Cohort | CTS Cohort 6 |
| Date | Tuesday, July 14, 2026 |
| Theme | Troubleshooting and Hidden Fuses |

1. What is the job of a fuse in a PV circuit?

Answer: A. To protect the wire and equipment by opening during too much current

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

2. A circuit shows voltage on one side of a fuse but not the other. What is the most likely issue?

Answer: B. The fuse is open or the fuse holder connection is bad

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

3. Before replacing an expensive part, what should a technician do?

Answer: B. Verify power, connections, and protection devices with measurements

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

4. Continuity mode is best used when the circuit is:

Answer: B. De-energized

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

5. If a fuse is blown, what must be considered before replacing it?

Answer: B. Why it opened and whether the replacement rating is correct

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

6. A good troubleshooting order is:

Answer: B. Follow power flow and verify at each point

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

7. What meter setting checks for DC voltage in a 12V battery system?

Answer: A. DC volts

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

8. Which statement is most professional?

Answer: B. I proved voltage stops at the fuse output

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

9. Why should a fuse never be bypassed as a repair?

Answer: B. It removes protection and can create a fire or equipment hazard

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.

10. Today's main lesson is:

Answer: B. The cheapest part can stop the whole system

Explanation: This question checks whether the student can connect meter evidence, fuse function, and professional troubleshooting habits.