# PV102 Day 7 Morning Quiz: Answer Key

10 questions | 15 minutes | Independent work

PV102 | CTS Day 23 | Morning Quiz - Answer Key
Plan the install before lifting parts. | Wednesday, August 12, 2026

Directions: Answer from your current knowledge. For written responses, use complete technical statements. If unsure, state the safe next action rather than guessing.

1. A JHA is used to:

A. Identify hazards and controls before work

B. Replace all training

C. Make electricity harmless

D. Skip PPE

Answer: A

Rationale/look-for: Job hazard analysis names hazards and controls before the task begins.

2. A work sequence should include:

A. Setup, controls, task steps, checks, cleanup

B. Only the fastest path

C. Only tool names

D. No safety boundary

Answer: A

Rationale/look-for: Sequencing prevents unsafe improvisation.

3. The best time to plan material staging is:

A. Before work starts

B. After parts are missing

C. During an emergency

D. Never

Answer: A

Rationale/look-for: Staging avoids wasted motion and unsafe clutter.

4. A wire route should consider:

A. Protection, distance, access, and serviceability

B. Wall color only

C. The shortest random path

D. Nobody knows

Answer: A

Rationale/look-for: Wire route choices affect safety, voltage drop, damage risk, and maintenance.

5. A quality hold point means:

A. Stop and verify before covering or continuing

B. Stop learning

C. Hide errors

D. Energize faster

Answer: A

Rationale/look-for: Hold points catch defects before they become buried or dangerous.

6. Name one mechanical hazard in PV installation planning.

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Instructor judgment

Rationale/look-for: Accept falls, lifting, cuts, pinch points, dropped objects, roof damage, weather, ladder access.

7. Name one electrical hazard that remains even before final commissioning.

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Instructor judgment

Rationale/look-for: Accept PV live in light, stored battery energy, wrong polarity, short circuit, energized adjacent circuits.

8. Why should tools and materials be staged instead of scattered?

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Control

Rationale/look-for: Prevents trips, loss, damage, time waste, and skipped checks.

9. What information from Day 2 changes the install plan?

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Site/access/route

Rationale/look-for: Accept access, roof condition, wire route, shade objects, structure, weather exposure, mounting area.

10. Write the Day 7 rule in your own words.

________________________________________________________________________________________________

________________________________________________________________________________________________

Answer: Plan before work

Rationale/look-for: Look for planning before lifting/installing.