## Slide 1
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 1
PV101 Day 6
Troubleshooting Like a Professional
Professionals don't guess. Professionals verify.

## Slide 2
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 2
The expensive failure often has the cheapest cause
A hidden fuse can stop a whole system.
Professionals don't guess. Professionals verify.

## Slide 3
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 3
Today's rule
Stop. Look. Think. Measure. Verify. Then repair.
Professionals don't guess. Professionals verify.

## Slide 4
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 4
What worked yesterday can fail today
Your job is to prove where the power path opens.
Professionals don't guess. Professionals verify.

## Slide 5
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 5
Power flow review
Module -> controller -> battery -> protection -> inverter -> load.
Professionals don't guess. Professionals verify.

## Slide 6
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 6
Protection devices are part of the circuit
A fuse is not an accessory. It is a controlled weak point.
Professionals don't guess. Professionals verify.

## Slide 7
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 7
A fuse opens for a reason
Too much current, wrong rating, short circuit, damaged conductor, or installation error.
Professionals don't guess. Professionals verify.

## Slide 8
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 8
Do not bypass protection
Bypassing a fuse removes the safety feature and creates risk.
Professionals don't guess. Professionals verify.

## Slide 9
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 9
Meter first, screwdriver second
The meter tells you where voltage exists and where it stops.
Professionals don't guess. Professionals verify.

## Slide 10
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 10
Voltage tracing
Check source, input, output, and load side in order.
Professionals don't guess. Professionals verify.

## Slide 11
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 11
Continuity checks
Use continuity only when the circuit is de-energized.
Professionals don't guess. Professionals verify.

## Slide 12
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 12
Bad assumptions waste time
Do not blame the biggest part just because it is expensive.
Professionals don't guess. Professionals verify.

## Slide 13
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 13
Professional evidence
I measured voltage at the fuse input and zero volts at the fuse output.
Professionals don't guess. Professionals verify.

## Slide 14
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 14
Common PV system failures
Open fuse, loose terminal, wrong polarity, low battery, shaded module, failed connector.
Professionals don't guess. Professionals verify.

## Slide 15
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 15
Today's challenge
This system worked yesterday. Today it does not. Figure out why.
Professionals don't guess. Professionals verify.

## Slide 16
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 16
Team rules
No random part swapping. No fuse bypassing. Record every measurement.
Professionals don't guess. Professionals verify.

## Slide 17
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 17
Winning condition
Find it, explain it, repair it, demonstrate operation.
Professionals don't guess. Professionals verify.

## Slide 18
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 18
Debrief question 1
What did you check first and why?
Professionals don't guess. Professionals verify.

## Slide 19
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 19
Debrief question 2
What measurement finally told the truth?
Professionals don't guess. Professionals verify.

## Slide 20
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 20
The reveal
Each system had exactly one bad fuse.
Professionals don't guess. Professionals verify.

## Slide 21
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 21
Field lesson
Big equipment often depends on small protection devices.
Professionals don't guess. Professionals verify.

## Slide 22
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 22
Technician mindset
Verify before replacing.
Professionals don't guess. Professionals verify.

## Slide 23
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 23
Reflection
How will today's lesson change your troubleshooting?
Professionals don't guess. Professionals verify.

## Slide 24
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 24
Quote of the day
Professionals don't guess. Professionals verify.
Professionals don't guess. Professionals verify.

## Slide 25
PV101 Day 06 | Tuesday, July 14, 2026 | Slide 25
Close
The cheapest part in the system can stop the entire system.
Professionals don't guess. Professionals verify.