# PV102 Day 6 Morning Quiz

10 questions | 15 minutes | Independent work

PV102 | CTS Day 22 | Morning Quiz - Student
Power electronics set system boundaries. | Tuesday, August 11, 2026

Directions: Answer from your current knowledge. For written responses, use complete technical statements. If unsure, state the safe next action rather than guessing.

1. An inverter primarily converts:

A. DC to AC

B. AC to sunlight

C. wood to wire

D. shade to volts

2. A charge controller protects and manages:

A. Battery charging from PV

B. Roof pitch

C. Clipboards

D. Nameplate stickers only

3. Inverter sizing must consider:

A. Continuous load and surge

B. Marker color only

C. Roof direction only

D. Lunch menu

4. An overcurrent device is used to:

A. Open a circuit during excessive current

B. Store solar energy

C. Increase sunshine

D. Convert AC to shade

5. A disconnect provides:

A. A means to isolate equipment

B. Free battery capacity

C. More roof area

D. A better compass

6. Why should source, storage, conversion, and load boundaries be shown separately?

________________________________________________________________________________________________

________________________________________________________________________________________________

7. Name one label that belongs on a training system handoff diagram.

________________________________________________________________________________________________

________________________________________________________________________________________________

8. Why can an inverter with enough continuous watts still fail a job?

________________________________________________________________________________________________

________________________________________________________________________________________________

9. What is one thing students should not decide without manufacturer instructions?

________________________________________________________________________________________________

________________________________________________________________________________________________

10. Write the Day 6 rule in your own words.

________________________________________________________________________________________________

________________________________________________________________________________________________