# PV102 Day 4 Afternoon Lab

String Design Paper Lab

PV102 | CTS Day 20 | Afternoon Lab
String design follows limits, temperature, and shade reality. | Thursday, August 6, 2026

# Mission

Teams compare three paper string options against controller limits and shade constraints.

# Safety boundary

This lab is training work. Do not energize or connect equipment outside the instructor-approved procedure. When in doubt, stop, isolate, verify, and ask.

# Scenario options

Four 22 Vmp / 27 Voc training modules feeding a 100 V controller.

Two shaded morning modules and two unshaded modules on a shed roof.

Long ground-rack wire run where voltage drop and current both matter.

# Procedure

Read the module and controller cards.

Build three possible string layouts using cards.

Calculate approximate operating voltage/current and open-circuit voltage.

Mark shade exposure from Day 2 scenario notes.

Reject any option that violates a limit or ignores shade evidence.

Handoff the safest first-pass string layout and its required verification checks.

# Acceptance criteria

Match the real job.

Show the energy or work path.

Name the dominant constraint.

State the safety boundary.

Record unknowns instead of guessing.

Give a handoff another crew can use.

# Team handoff form

| Item | Response |
| --- | --- |
| Team members |  |
| Scenario |  |
| Primary decision |  |
| Evidence |  |
| Safety boundary |  |
| Unknowns |  |
| Next safest action |  |