PV101 Day 06 Afternoon Lab

Hidden Fuse Challenge

| Course | PV101 |
| --- | --- |
| Cohort | CTS Cohort 6 |
| Date | Tuesday, July 14, 2026 |
| Theme | Troubleshooting and Hidden Fuses |

# Student Scenario

"This system worked yesterday. Today it does not. Figure out why."

# Rules

No random part swapping.

No bypassing fuses.

Every measurement must be written down.

The team must explain the evidence before replacing anything.

The first team to restore the system and explain the fault wins.

# Tools

Multimeter

Wiring diagram

PPE

Notebook or worksheet

Replacement fuse only after instructor approval

# Troubleshooting Path

Observe the system without touching it.

Identify the expected power path: module, controller, battery, fuse, inverter, load.

Check source voltage.

Check voltage into and out of each protection device.

Use continuity only after the circuit is de-energized.

State the fault and evidence to the instructor.

Replace the correct fuse and demonstrate restored operation.

# Instructor-Only Truth

Each assembled kit contains exactly one intentionally blown fuse. There are no other faults.