PV101 CTS Cohort 6 Day 2 Student Packet

Electricity Basics, Multimeter Practice, Series and Parallel

| Program | Cohort | Day | Date |
| --- | --- | --- | --- |
| PV101 | CTS Cohort 6 | Day 2 | 2026-07-07 |

## Big Idea

Solar PV turns light into DC electricity. We use measurements instead of guesses.

## Electricity Words

Voltage = pressure

Current = flow

Resistance = opposition

Power = work being done

## Units

Voltage = volts = V

Current = amps = A

Resistance = ohms

Power = watts = W

## Main Formula

Watts = Volts x Amps

Amps = Watts / Volts

Volts = Watts / Amps

## AC vs DC

DC = direct current: batteries, solar panels, many RV loads

AC = alternating current: wall outlets and many home appliances

## Series and Parallel

Series = voltage adds

Parallel = current adds

Memory line: Series stacks voltage. Parallel stacks amperage.

## PV System Path

Solar panel -> charge controller -> battery -> loads

Battery -> inverter -> AC loads when needed

## Meter Practice Record

| Object Tested | Meter Setting | Expected Reading | Actual Reading | What Did It Tell You? |
| --- | --- | --- | --- | --- |
| AA battery | DC volts |  |  |  |
| 9V battery | DC volts |  |  |  |
| 12V source | DC volts |  |  |  |
| Small PV panel in light | DC volts |  |  |  |
| Small PV panel shaded/covered | DC volts |  |  |  |
| Wire continuity | Continuity |  |  |  |

## RV Solar Load Starter List

| Load | AC/DC | Voltage | Watts or Amps | Notes |
| --- | --- | --- | --- | --- |
| Water pump | DC | 12V | Unknown | Verify hidden fuse and label |
| Interior lights | DC | 12V | Unknown | Count fixtures |
| Fan | DC | 12V | Unknown | Check label or measure |
| USB charging | DC | 5V/12V | Unknown | Adapter losses |
| Outlet loads | AC | 120V | Unknown | Inverter needed |

## Exit Ticket

One thing I understand better today:
____________________________________________________________________________________________

One thing I still want to practice:
____________________________________________________________________________________________

One safety rule I need to remember:
____________________________________________________________________________________________

One RV load we should verify before designing the system:
____________________________________________________________________________________________