# PV102 Day 2 Student Packet

Site and Solar Resource Assessment

PV102 | CTS Day 18 | Student Print Packet
Measure the site before you size the system. | Tuesday, August 4, 2026

# Today's rule

Measure the site before you size the system.

# Learning targets

Identify site factors that affect PV production and installation practicality.

Use orientation, tilt, shade, and access observations to support a design decision.

Separate measured observations from assumptions and preferences.

Create a site-note handoff that Day 3 can use for load and energy work.

# Morning quiz

1. Which site condition most directly reduces solar access?

A. Good labeling

B. Shade on the array area

C. A clean classroom

D. A larger clipboard

2. Azimuth describes:

A. Direction/orientation

B. Battery chemistry

C. Wire color

D. Breaker rating

3. Tilt describes:

A. Array angle relative to horizontal

B. Fuse speed only

C. Type of current

D. Wire insulation color

4. A site note should separate observations from:

A. Measurements

B. Evidence

C. Assumptions

D. Safety boundaries

5. The safest first action before a roof assessment is to:

A. Climb quickly

B. Discuss access, fall hazards, and boundaries

C. Carry modules first

D. Energize the inverter

6. Name one factor besides shade that affects PV placement.

________________________________________________________________________________________________

________________________________________________________________________________________________

7. A team records “probably enough sun.” What should they do next?

________________________________________________________________________________________________

________________________________________________________________________________________________

8. Why can a sunny site still be a poor installation site?

________________________________________________________________________________________________

________________________________________________________________________________________________

9. What is one unknown that should be carried into Day 3?

________________________________________________________________________________________________

________________________________________________________________________________________________

10. Write the Day 2 rule in your own words.

________________________________________________________________________________________________

________________________________________________________________________________________________

# Reference: decision order

| Step | Action | Proof question |
| --- | --- | --- |
| 1 | Define the job | What must the system accomplish? |
| 2 | Collect evidence | What is measured, observed, or still unknown? |
| 3 | Choose boundary | What must be protected, isolated, sized, or verified? |
| 4 | Defend the choice | What evidence supports the decision? |
| 5 | Handoff | What should the next person know? |

# Site Walk and Solar Access Handoff

Teams inspect three candidate locations and decide which one deserves further design work.

## Scenario options

South-facing roof plane with one morning tree shadow and limited attic access.

Open ground rack area with excellent sun but long wire run and mower traffic.

West-facing shed roof near the load with easy service access and afternoon sun.

## Team procedure

Assign one candidate location per team.

Sketch the site from above and mark north, shade sources, access path, approximate array area, and likely wire route.

Record observations in three columns: measured, observed, unknown.

Name the best reason to keep or reject the site for first-pass design.

Prepare a two-minute handoff for Day 3.

## Team worksheet

| Prompt | Team response |
| --- | --- |
| System/job statement |  |
| Evidence used |  |
| Decision made |  |
| Safety boundary |  |
| Top unknowns |  |
| Next action |  |

# Exit ticket

Which site condition would most likely force a redesign, and what evidence supports that answer?

________________________________________________________________________________________________

________________________________________________________________________________________________