# RCS01 Whiteboard Plan

CTS Cohort 6 | D09 / RCS01 | Monday, July 20, 2026

Core rule: A professional does not guess. A professional checks, protects, and verifies.

# Board Layout

| Board Zone | Content |
| --- | --- |
| Left | Today's Rule: Check - Protect - Verify |
| Center | Residential Systems Map: Structure ¦ Electrical ¦ Plumbing ¦ HVAC ¦ Envelope ¦ Finish |
| Right | Sink Path: Source -> Shutoff -> Faucet -> Sink -> Tailpiece -> P-trap -> Drain outlet |
| Bottom | Stop Conditions: unsure, damaged tool, missing PPE, unclear path, leak, cannot explain next step |

# Draw This Diagram

Water source -> Shutoff -> Faucet -> Sink basin -> Tailpiece -> P-trap -> Drain outlet

Label: supply side, fixture, drain side, trap seal, service point.

# Instructor Prompts

What does each part do?

Where could this system leak?

What should be inspected before testing?

What would make the next person trust your work?