# PV102 Day 8 Afternoon Lab

Commissioning and Fault Handoff Challenge

PV102 | CTS Day 24 | Afternoon Lab
Test, document, and hand off what the system actually does. | Thursday, August 13, 2026

# Mission

Teams inspect a training system or fault card set, run a commissioning sequence, identify one fault, and deliver a final technical handoff.

# Safety boundary

This lab is training work. Do not energize or connect equipment outside the instructor-approved procedure. When in doubt, stop, isolate, verify, and ask.

# Scenario options

Training kit has a hidden open fuse and incomplete label.

Paper system has reversed polarity at one component card and missing OCPD label.

Mock client handoff has incomplete load table and no record of final voltage checks.

# Procedure

Review the system scope and safety boundary.

Complete pre-energization inspection using the checklist.

Run only authorized de-energized checks first.

Use evidence to identify the fault or missing documentation.

Record pass/fail results and corrective action recommendation.

Deliver a three-minute final handoff: system job, path, checks, fault, fix/next action, unknowns.

# Acceptance criteria

Match the real job.

Show the energy or work path.

Name the dominant constraint.

State the safety boundary.

Record unknowns instead of guessing.

Give a handoff another crew can use.

# Team handoff form

| Item | Response |
| --- | --- |
| Team members |  |
| Scenario |  |
| Primary decision |  |
| Evidence |  |
| Safety boundary |  |
| Unknowns |  |
| Next safest action |  |