RCS03 | Student Packet

CTS Cohort 6 | CTS Day 11 | 2026-07-22 | 10:00 AM-3:00 PM | 6 students

Electrical Fundamentals: Receptacles and Box Layout

Core rule: A professional does not guess. A professional checks, protects, and verifies.

Big idea: Residential wiring is a controlled path; professionals de-energize, verify, route, terminate, inspect, and document.

# Learning targets

Trace hot, neutral, and equipment-grounding paths in a training circuit

Lay out two receptacle boxes on the capstone wall

Prepare and terminate conductors on training receptacles

Complete visual, mechanical, and continuity checks while de-energized

# Today's run

10:00-10:15 | Arrival, PPE, retrieval warm-up

10:15-10:30 | Morning quiz

10:30-10:50 | Quiz review and energy-boundary check

10:50-11:20 | Hot, neutral, and grounding path model

11:20-12:00 | Box-layout and receptacle termination demonstration

12:00-12:30 | Verification ladder guided practice and lab release

12:30-1:00 | Lunch and controlled reset

1:00-2:25 | Two-box, two-receptacle de-energized capstone lab

2:25-2:45 | Visual, tug, continuity, evidence, cleanup

2:45-3:00 | Exit ticket and Day 4 preview

# Key words

hot | neutral | equipment grounding conductor | receptacle | device box | sheathing | insulation | terminal | pigtail | continuity

# Guided worksheet

1. Trace the training circuit path with arrows.

________________________________________________________________________________

________________________________________________________________________________

2. Label hot, neutral, and grounding conductors.

________________________________________________________________________________

________________________________________________________________________________

3. Record both box layout measurements.

________________________________________________________________________________

________________________________________________________________________________

4. List four termination defects to inspect.

________________________________________________________________________________

________________________________________________________________________________

5. Record continuity results only after the instructor confirms de-energization.

________________________________________________________________________________

________________________________________________________________________________

# Afternoon lab mission

Students mount two training device boxes in their capstone walls, route a de-energized training cable path, prepare conductors, terminate two receptacles, and complete a four-part verification. No connection to building power is permitted.

## Safety boundary

Training mock-up only. Keep every circuit de-energized, isolated from premises wiring, and under instructor control. This class does not authorize unlicensed field electrical work.

Treat any unverified conductor as energized

Eye protection during drilling and cable preparation

No damaged insulation or exposed copper outside terminals

Continuity mode only on isolated circuits

Instructor controls any test source

## Build / test sequence

[ ] Energy-control briefing

[ ] Verify training source isolated

[ ] Lay out two boxes

[ ] Instructor layout approval

[ ] Mount boxes

[ ] Route training cable

[ ] Prepare conductors

[ ] Terminate receptacles

[ ] Visual and tug inspection

[ ] De-energized continuity check

[ ] Label, photograph, reset

# Evidence record

[ ] Circuit-path worksheet: ______________________________________________

[ ] Box-layout measurements: ______________________________________________

[ ] Two completed receptacle terminations: ______________________________________________

[ ] Visual/tug/continuity log: ______________________________________________

[ ] Instructor approval record: ______________________________________________

# Reflection and exit ticket

Draw the training circuit path

________________________________________________________________________________

________________________________________________________________________________

Name one strong termination feature

________________________________________________________________________________

________________________________________________________________________________

State the meter safety boundary

________________________________________________________________________________

________________________________________________________________________________

Name one inspection you completed

________________________________________________________________________________

________________________________________________________________________________

# Instructor verification

Status: [ ] Approved  [ ] Correct and recheck  [ ] Needs follow-up

Instructor initials: __________________  Date/time: __________________