# PV102 Day 5 Afternoon Lab

Critical Load Storage Plan

PV102 | CTS Day 21 | Afternoon Lab
Storage has a defined job: carry named loads through named time. | Monday, August 10, 2026

# Mission

Teams reduce an oversized wish list into a critical-load storage plan that a real system could support.

# Safety boundary

This lab is training work. Do not energize or connect equipment outside the instructor-approved procedure. When in doubt, stop, isolate, verify, and ask.

# Scenario options

Bus conversion overnight loads: fridge, fan, lights, phone, laptop, water pump, optional induction cooktop.

Remote sensor must survive two stormy days with no site visit.

Small shop wants outage backup for lights, router, one outlet, and refrigerator only.

# Procedure

Start with the Day 3 load table or provided scenario.

Mark each load as critical, useful, or optional.

Calculate critical daily Wh.

Choose an autonomy target and estimate required Wh before adjustment.

List the battery information required before final sizing.

Handoff the critical-load list, autonomy target, and rejected optional loads.

# Acceptance criteria

Match the real job.

Show the energy or work path.

Name the dominant constraint.

State the safety boundary.

Record unknowns instead of guessing.

Give a handoff another crew can use.

# Team handoff form

| Item | Response |
| --- | --- |
| Team members |  |
| Scenario |  |
| Primary decision |  |
| Evidence |  |
| Safety boundary |  |
| Unknowns |  |
| Next safest action |  |