# PV101 Day 8 Master Print Packet

Compiled packet

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Contents follow in instructional order.

# PV101 Day 8 Daily Run Sheet

Instructor-facing plan for Rich or a substitute | Thursday, July 16, 2026

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Topic: Final Review and Assessment

Class setup: 6 students | 10:00 AM-3:00 PM | Calm, practical, evidence-first instruction

# Teaching frame

Main message: the final checks whether students can apply PV101 fundamentals safely and clearly.

The final is a traditional graded assessment: 25 questions, one point each.

Do not coach answers during the final. Clarify directions or unreadable wording only.

PV101 ends today with reflection, evidence collection, and a clean instructional closeout—no capstone or certification exercise.

# Substitute quick start

[ ] Read the full schedule before students arrive.

[ ] Locate emergency disconnects, first-aid supplies, calculator policy, and secure test storage.

[ ] Print student materials and keep answer keys/instructor notes separate.

[ ] Write the day goal, schedule, and stop-work rule on the board.

[ ] If uncertain about equipment or assessment handling, use the reduced-scope path and contact program leadership.

# Learning targets

Recall and apply core ideas from all 12 assigned chapters.

Use formulas, diagrams, sequencing, and written reasoning accurately.

Choose safe verification and troubleshooting steps instead of guessing.

Complete a traditional graded 25-question assessment independently.

Reflect on PV101 growth and leave materials organized and secure.

# Materials

Readiness quiz and key

Day 8 slide deck and whiteboard outline

25-question final tests and secured answer key

Calculators and scratch paper as allowed

Reflection sheet and evidence checklist

Folders/envelopes for completed graded work

# Daily schedule

| Time | Block | Instructor notes |
| --- | --- | --- |
| 10:00-10:10 | Arrival, attendance, check-in | Students receive readiness quiz only. Final tests remain secured. |
| 10:10-10:20 | Day goal + test expectations | Explain the day: review, demonstrate individual understanding, reflect, and close PV101. |
| 10:20-10:35 | Morning readiness quiz | Short five-question check distinct from the graded final. |
| 10:35-10:55 | Readiness review | Correct together. Use results to choose which misconceptions need the most review. |
| 10:55-11:20 | Whiteboard review | Sort concepts into energy path, measurement, workmanship, protection, troubleshooting, and sizing. |
| 11:20-11:30 | Break | Students reset. Instructor keeps final tests and answer key controlled. |
| 11:30-12:00 | Slides: cumulative review | Review formulas, meter discipline, protection, series/parallel, troubleshooting evidence, and sizing steps. |
| 12:00-12:20 | Practice questions | Work examples that are similar in skill but not identical to final-test questions. |
| 12:20-12:30 | Final instructions | Explain 25 questions, one point each, calculator policy, quiet conditions, and how to request clarification. |
| 12:30-1:00 | Lunch | Final tests remain secured. No discussion of test content. |
| 1:00-2:10 | PV101 final assessment | Traditional graded 25-question cumulative test. Instructor monitors without coaching answers. |
| 2:10-2:20 | Collect + verify materials | Count every test and scratch page. Store answer key separately. |
| 2:20-2:35 | Course reflection | Students reflect on verification, growth, remaining practice needs, and safe-work habits. |
| 2:35-2:45 | PV101 closeout discussion | Name the skills completed and state simply that PV101 is complete. No capstone or project presentation. |
| 2:45-2:55 | Evidence + Classroom upload | Submit reflection and any required learning evidence; instructor completes evidence checklist. |
| 2:55-3:00 | Cleanup + dismissal | Room reset, materials counted, student papers secured, PV101 formally closed. |

# Safety and instructional stop conditions

Final tests or answer keys are unaccounted for.

Students discuss answers during the individual test.

A question appears to require content not taught; note it for review without coaching an answer.

A student becomes overwhelmed; provide a quiet reset while preserving test integrity.

Assessment materials are photographed or uploaded without authorization.

# Reduced-scope backup

Day 7: if calculators or printing fail, complete one class example on the whiteboard and have students show units and reasonableness on notebook paper. Day 8: if final-test printing fails, run structured review and reflection; do not improvise a different final from memory. Reschedule the secured assessment.

# Early finishers

Day 7: check every unit, redo one calculation independently, and write one sentence explaining each sizing result. Day 8: quietly review answers, then begin the reflection only after turning in the final.

# Instructor notes after class

What landed:

__________________________________________________________________________________

__________________________________________________________________________________

What confused students:

__________________________________________________________________________________

__________________________________________________________________________________

Equipment/material issues:

__________________________________________________________________________________

__________________________________________________________________________________

Carry-forward:

__________________________________________________________________________________

__________________________________________________________________________________

# PV101 Day 8 Morning Quiz

Student copy | 10-15 minutes

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________

Answer briefly. Show work and units where needed.

1. A 24 V training load draws 2 A. What power does it use?
__________________________________________________________________________________
__________________________________________________________________________________

2. A 40 W device operates for 2 hours. What daily energy does it use?
__________________________________________________________________________________
__________________________________________________________________________________

3. Before testing continuity across a fuse, name the required energy state and meter function.
__________________________________________________________________________________
__________________________________________________________________________________

4. A wire label says polarity is correct. What evidence should verify the label?
__________________________________________________________________________________
__________________________________________________________________________________

5. Why write the expected value and unit before taking a measurement?
__________________________________________________________________________________
__________________________________________________________________________________

# PV101 Day 8 Morning Quiz Answer Key

Instructor copy

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

1. A 24 V training load draws 2 A. What power does it use?
48 W; W = V x A = 24 x 2.

2. A 40 W device operates for 2 hours. What daily energy does it use?
80 Wh; Wh = W x h = 40 x 2.

3. Before testing continuity across a fuse, name the required energy state and meter function.
Circuit de-energized and verified; meter on continuity/ohms with correct leads and ports.

4. A wire label says polarity is correct. What evidence should verify the label?
A correctly configured voltage measurement at documented points with the observed polarity compared to the expected polarity.

5. Why write the expected value and unit before taking a measurement?
It helps select the correct function/range and makes the observed result useful evidence instead of an unexplained number.

# PV101 Day 8 Whiteboard Outline

Instructor-facing

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

# Board before students enter

PV101 Day 8 | Review -> Final -> Reflection -> Closeout

25 questions | 25 points

Safety overrides speed. Units count. Evidence beats labels.

# Six review columns

Energy path

Electricity + formulas

Meter verification

Workmanship + serviceability

Protection + troubleshooting

Loads + sizing

# Misconceptions to correct

Wire colors and labels are hints—not proof.

Continuity requires a de-energized circuit.

A replaced fuse is not a verified repair.

Series adds voltage; parallel adds current.

A sizing answer without units or assumptions is incomplete.

# Final-test boundaries

Independent work.

Clarify directions only.

No answer coaching.

Collect every test and scratch page.

# PV101 Day 8 Review Worksheet

Student copy | Use before the final

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________

# Formula and units check

Write the power formula: __________________

Calculate 24 W used for 3 h: __________________ Wh

Convert 0.5 kW to watts: __________________ W

In series, __________________ adds. In parallel, __________________ adds.

# Verification chain

Put in order: evidence, symptom, conclusion, test.
Answer: __________________________________________________________

# System path

Draw and label the basic PV-to-load energy path. Mark one fuse, one disconnect, and one meter point.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

# Common misconceptions to correct

1. Wire color proves polarity.  Correct / Incorrect: __________
Correction: __________________________________________________________

2. Continuity is tested on an energized circuit.  Correct / Incorrect: __________
Correction: __________________________________________________________

3. Replacing a fuse proves the fault is repaired.  Correct / Incorrect: __________
Correction: __________________________________________________________

4. Loads are the starting point for sizing.  Correct / Incorrect: __________
Correction: __________________________________________________________

5. Cleanup is part of technical work.  Correct / Incorrect: __________
Correction: __________________________________________________________

# PV101 Day 8 Student Worksheet Answer Key

Instructor copy

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

# Formula and units check

Power formula: W = V x A.

24 W x 3 h = 72 Wh.

0.5 kW x 1,000 W/kW = 500 W.

In series, voltage adds. In matched parallel paths, current adds.

# Verification chain

Symptom -> test -> evidence -> conclusion. Accept equivalent wording that keeps the observation before the test and the conclusion after evidence.

# System path

Accept PV -> controller -> battery -> protected inverter/DC load path with a complete return, one source-side fuse, one disconnect, and one logical meter point.

# Misconceptions

| Statement | Answer | Correction |
| --- | --- | --- |
| Wire color proves polarity. | Incorrect | Color is a clue; verify polarity with labels, tracing, and the correct meter setup. |
| Continuity is tested on an energized circuit. | Incorrect | Continuity/ohms testing requires the circuit to be de-energized. |
| Replacing a fuse proves the fault is repaired. | Incorrect | Find the cause and verify the restored known-good state. |
| Loads are the starting point for sizing. | Correct | Document watts, hours, simultaneous loads, and assumptions before sizing. |
| Cleanup is part of technical work. | Correct | A professional closeout includes safe state, material count, records, and room reset. |

# PV101 Day 8 Guided-Practice Guide

Student-facing

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________

# Purpose

Provide the student-facing sequence for review, final assessment, reflection, and PV101 closeout.

# Materials

Readiness quiz

Review worksheet

Calculator and pencil

Final assessment

Reflection questions

# Student sequence

Complete the readiness quiz.

Participate in cumulative review.

Use lunch as a test-content break.

Complete the final independently.

Turn in the final before starting reflection.

Submit reflection and leave the room reset.

# Test rules

One point per question.

Show units on calculations.

Ask only for clarification of directions.

Do not discuss or photograph test content.

# Cleanup

Return calculators.

Submit every test and scratch page.

Upload/submit reflection as directed.

Clear tables and wait for dismissal.

# PV101 Day 8 Reflection Questions

Student copy

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________

1. What PV101 skill improved most for you?
__________________________________________________________________________________
__________________________________________________________________________________

2. Which safety or verification rule will you remember?
__________________________________________________________________________________
__________________________________________________________________________________

3. Which topic still needs practice?
__________________________________________________________________________________
__________________________________________________________________________________

4. Describe one time evidence changed your conclusion.
__________________________________________________________________________________
__________________________________________________________________________________

5. What does professional cleanup/documentation mean to you?
__________________________________________________________________________________
__________________________________________________________________________________

# PV101 Day 8 Instructor Notes

Instructor-facing

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

# Before class

Print and separate student/instructor copies.

Verify the 10:00-3:00 schedule and room setup.

Keep answer keys controlled.

# During class

Use missed quiz items as teaching feedback.

Require units and evidence.

Protect student dignity; correct privately and calmly.

# After class

Record what landed and what needs follow-up.

Secure graded work.

Complete the evidence checklist and Daily Summary.

# PV101 Day 8 Evidence Checklist

Instructor copy

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

[ ] Readiness quiz completed

[ ] Cumulative review completed

[ ] Final test issued and counted

[ ] All 25 questions present

[ ] Final test returned and secured

[ ] Raw score recorded out of 25

[ ] Reflection submitted

[ ] Classroom evidence submitted

[ ] PV101 closeout completed

[ ] Room and materials reset

Instructor initials: __________  Notes: __________________________________________________________

# PV101 Final Assessment

Student copy | 25 questions | 25 points

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

Name: __________________________________  Date: __________________  Score: ______ / 25

Directions: Work independently. Circle one answer for multiple choice. Show formulas and units for calculations. Write clearly for explanations. Each question is worth one point.

## 1. Photovoltaic (PV) equipment converts which resource directly into electricity?

A. Moving air

B. Light

C. Flowing water

D. Fuel vapor

## 2. Which application most clearly needs energy storage to operate when sunlight is unavailable?

A. A direct daytime PV fan

B. A grid-tied array with no backup requirement

C. An off-grid cabin used at night

D. A module demonstration with no load

## 3. Before changing wiring on a training PV system, the safest first action is to:

A. Work faster

B. Isolate energy sources and verify the state

C. Trust the switch label

D. Replace the fuse

## 4. A student is uncertain about polarity. What should happen?

A. Connect briefly and watch

B. Ask a classmate to guess

C. Stop and verify with the correct meter setup

D. Reverse both conductors

## 5. Which statement is correct?

A. Voltage is electrical pressure and current is flow

B. Current is measured in volts

C. Power is measured in ohms

D. Resistance creates energy

## 6. A 12 V fan draws 3 A. Calculate its power in watts. Show the formula.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 7. Peak sun hours are used mainly to estimate:

A. Daily equivalent full-sun energy

B. Wire color

C. Battery terminal size

D. AC frequency

## 8. What usually happens to PV output when a module is heavily shaded?

A. Output improves

B. Output is reduced

C. AC voltage doubles

D. Battery capacity increases

## 9. A PV module exposed to light should be treated as:

A. Always de-energized

B. A possible DC voltage source

C. An AC-only device

D. A fuse

## 10. Read this connection diagram: [Module 1] -- series -- [Module 2]. Which electrical quantity normally adds in this matched series connection?

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 11. What is the main job of a charge controller in a battery-based PV system?

A. Convert DC to AC

B. Regulate charging to protect the battery

C. Create sunlight

D. Replace overcurrent protection

## 12. What is the main job of an inverter?

A. Convert DC to AC

B. Store energy

C. Measure resistance

D. Increase sun hours

## 13. Three 10 W lights operate 4 hours per day. Calculate their total daily energy use.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 14. What should be completed before selecting battery, array, or inverter size?

A. A load assessment

B. A wire-color chart

C. A tool inventory only

D. A final photograph

## 15. Why is a fuse placed close to a battery source?

A. To increase voltage

B. To protect as much conductor as practical

C. To make the inverter quieter

D. To eliminate shutdown steps

## 16. A long undersized conductor carrying current is most likely to cause:

A. Lower voltage drop

B. Voltage drop and heating

C. More sun hours

D. Increased battery capacity

## 17. Which is a reasonable advantage of a ground-mounted array?

A. It always costs less

B. It can be easier to access and orient

C. It cannot be shaded

D. It needs no structure

## 18. A roof area is shaded from 1:00-4:00 PM, while an open ground area has clear solar access. Circle the better conceptual location and write one reason.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 19. After observing a fault symptom, the best next step is to:

A. Replace several parts

B. Choose one test that can separate likely causes

C. Bypass protection

D. Trust the label

## 20. Explain why replacing a blown fuse is not enough to prove the system is repaired.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 21. In a permitting context, the AHJ is the organization or official that:

A. Guarantees system output

B. Sets the price of every module

C. Enforces the applicable local requirements and approvals

D. Replaces the serving utility

## 22. A current, documented rebate in a training example covers $500 of a $2,500 cost. Calculate the remaining cost before any other fees or credits.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 23. After completing a set of practice questions, explain why reviewing the missed questions is more useful than recording only the score.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 24. A cumulative practice question asks you to convert 0.75 kW to watts. Show the conversion.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

## 25. A small PV training system does not power its load. The panel is in light, the controller display is off, and a label says the battery fuse is good. Describe the safe first three actions/tests and the evidence you would document.

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

# PV101 Final Assessment Answer Key

Instructor copy | 25 questions | 25 points

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

| Q | Chapter | Type | Answer / acceptable evidence |
| --- | --- | --- | --- |
| 1 | 1 | MC | B. Light |
| 2 | 1 | MC | C. An off-grid cabin used at night |
| 3 | 2 | MC | B. Isolate energy sources and verify the state |
| 4 | 2 | MC | C. Stop and verify with the correct meter setup |
| 5 | 3 | MC | A. Voltage is electrical pressure and current is flow |
| 6 | 3 | CALC | 36 W; W = V x A = 12 x 3. |
| 7 | 4 | MC | A. Daily equivalent full-sun energy |
| 8 | 4 | MC | B. Output is reduced |
| 9 | 5 | MC | B. A possible DC voltage source |
| 10 | 5 | DIAGRAM | Voltage adds; current remains limited by the matched module/string current. |
| 11 | 6 | MC | B. Regulate charging to protect the battery |
| 12 | 6 | MC | A. Convert DC to AC |
| 13 | 7 | CALC | 120 Wh/day; 3 x 10 W x 4 h. |
| 14 | 7 | MC | A. A load assessment |
| 15 | 8 | MC | B. To protect as much conductor as practical |
| 16 | 8 | MC | B. Voltage drop and heating |
| 17 | 9 | MC | B. It can be easier to access and orient |
| 18 | 9 | DIAGRAM | Ground area; it has better documented solar access. Accept reason tied to shading/access, with acknowledgment that full site review is still required. |
| 19 | 10 | MC | B. Choose one test that can separate likely causes |
| 20 | 10 | SHORT | The cause and conductor/system condition must be checked, then the known-good state must be verified with repeat measurements or functional testing. |
| 21 | 11 | MC | C. Enforces the applicable local requirements and approvals |
| 22 | 11 | CALC | $2,000; $2,500 - $500 = $2,000. |
| 23 | 12 | SHORT | Reviewing misses identifies the specific concept, calculation, unit, or safety reasoning that needs correction and turns the practice set into a learning tool. |
| 24 | 12 | CALC | 750 W; 0.75 kW x 1,000 W/kW. |
| 25 | Cumulative | SCENARIO | Accept: stop and isolate energy; inspect/trace the actual path and protection; verify meter setup; with the circuit de-energized test fuse continuity or measure voltage at logical points after safe re-energization; record expected vs actual readings, conclusion, repair, and restoration check. Must not bypass protection or trust the label alone. |

# Scoring

Award one point per question. For calculations, require the correct result with an appropriate unit; accept equivalent work. For written items, accept equivalent safe reasoning that includes the listed evidence. Record the raw score out of 25.