# PV102 Day 1 Morning Quiz

PV101 and RCS readiness check

| 10 questions | 15 minutes | Independent work |
| --- | --- | --- |

Morning Quiz - Student | Audience: Student | Monday, August 3, 2026

Directions Answer from your current knowledge. For written responses, use complete technical statements. If unsure, state the safe next action rather than guessing.

1. What type of electrical output is produced directly by a PV module?

A. AC

B. DC

C. Mechanical

D. Thermal

2. When matching PV modules are connected in series, which quantity primarily adds?

A. Voltage

B. Current

C. Sunlight

D. Frequency

3. When matching PV strings are connected in parallel, which quantity primarily adds?

A. Voltage

B. Current

C. Resistance only

D. Frequency

4. For the small battery-based training systems used in PV101, which connection should be made first when the controller manufacturer's procedure requires battery-first startup?

A. PV to controller

B. Load to inverter

C. Battery to controller

D. Ground rod to roof

5. What is the main job of an overcurrent protective device such as a fuse?

A. Increase voltage

B. Limit damaging current

C. Create sunlight

D. Store energy

6. Before using continuity mode, the circuit must be:

A. Energized

B. De-energized and verified

C. Connected to the grid

D. Under full load

7. A 12 V load draws 2 A. What is its power in watts?

________________________________________________________________________________________________

8. Name two items that belong in a professional technical handoff.

________________________________________________________________________________________________

________________________________________________________________________________________________

9. A teammate is unsure whether a circuit is safe to touch. What is the correct next action?

________________________________________________________________________________________________

________________________________________________________________________________________________

10. In one sentence, explain why a correct component can still be wrong for a specific system.

________________________________________________________________________________________________

________________________________________________________________________________________________