# PV101 Day 8 Whiteboard Outline

Instructor-facing

Day_08_PV101_Final_Review_and_Assessment_2026-07-16

# Board before students enter

PV101 Day 8 | Review -> Final -> Reflection -> Closeout

25 questions | 25 points

Safety overrides speed. Units count. Evidence beats labels.

# Six review columns

Energy path

Electricity + formulas

Meter verification

Workmanship + serviceability

Protection + troubleshooting

Loads + sizing

# Misconceptions to correct

Wire colors and labels are hints—not proof.

Continuity requires a de-energized circuit.

A replaced fuse is not a verified repair.

Series adds voltage; parallel adds current.

A sizing answer without units or assumptions is incomplete.

# Final-test boundaries

Independent work.

Clarify directions only.

No answer coaching.

Collect every test and scratch page.